|  |
| --- |
| **TABLE I–6.—RUBBER INSULATING EQUIPMENT TEST INTERVALS** |
| **Type of equipment**  | **When to test**  |
| Rubber insulating line hose. | Upon indication that insulating value is suspect. |
| Rubber insulating covers. | Upon indication that insulating value is suspect. |
| Rubber insulating blankets. | Before first issue and every 12 months thereafter. 1 |
| Rubber insulating gloves. | Before first issue and every 6 months thereafter. 1 |
| Rubber insulating sleeves. | Before first issue and every 12 months thereafter. 1 |
| 1If the insulating equipment has been electrically tested but not issued for service, it may not be placed into service unless it has been electrically tested within the previous 12 months. |